## Sheet1
name | path | alias | type | card. | stereotype | id | definition | definitioncode
LaboratoryTestResult | LaboratoryTestResult | NL: LaboratoriumUitslag |  |  | rootconcept | NL-CM:13.1.1 | Root concept of the LaboratoryTestResult information model. This root concept contains all data elements of the LaboratoryTestResult information model.
Specimen | LaboratoryTestResult.Specimen | NL: Monster |  | 0..1 | container | NL-CM:13.1.2 | Container of the concept Specimen. This container contains all data elements of the concept Specimen. A completed container is related to a sample from the Snomed Hierarchy. If the TestCode implicitly also describes a specimen (often the case if coded in LOINC), elements within the concept specimen may not conflict with it. However, if desired, these data can provide a more detailed description.This is in line with the agreements made in the IHE/Nictiz e-Lab programme. | SNOMED CT: 123038009 Specimen
SpecimenId | LaboratoryTestResult.Specimen.SpecimenId | NL: Monsternummer | II | 0..1 | data | NL-CM:13.1.15 | Identification number of the material obtained, as a reference for inquiries to the source organization. In a transmural setting, this number will consist of a specimen number including the identification of the issuing organization, to be unique outside of the borders of an organization.
SpecimenNumberExtension | LaboratoryTestResult.Specimen.SpecimenNumberExtension | NL: Monstervolgnummer | INT | 0..1 | data | NL-CM:13.1.20 | The specimen number extension is used when the collected material is distributed from the original tube or container across multiple tubes. In combination with the specimen Id the extension yield a unique identification of the tube or container
ContainerType | LaboratoryTestResult.Specimen.ContainerType | NL: Containertype | CD | 0..1 | data | NL-CM:13.1.21 | Container type describes the envelope in which the material is collected or sent. Examples include blood tubes, transport container, possibly including culture medium. | SNOMED CT: 706046003 Specimen receptacle
SpecimenMaterial | LaboratoryTestResult.Specimen.SpecimenMaterial | NL: Monstermateriaal | CD | 0..1 | data | NL-CM:13.1.16 | Specimen material describes the base material or specimen type taken. For example: Urine, blood, Saliva etc or aspirate from jejunum, biopsy of cartilage etc.. This element refers to the Substance or Specimen hierarchy in Snomed. If the Specimen branch is used for this data element, it must not contradict other elements in this zib. | SNOMED CT: 370133003 Specimen substance
AnatomicalLocation | LaboratoryTestResult.Specimen.AnatomicalLocation | NL: AnatomischeLocatie |  | 0..1 | data,reference | NL-CM:13.1.36 | Anatomical location where the material is collected, e.g. elbow. | SNOMED CT: 405814001 Procedure site - Indirect
Microorganism | LaboratoryTestResult.Specimen.Microorganism | NL: Microorganisme | CD | 0..1 | data | NL-CM:13.1.22 | In particular in microbiological determinations the subject of the test is an isolate of a certain microorganism rather then a material. This concept provides the ability to capture information about this microorganism.
Morphology | LaboratoryTestResult.Specimen.Morphology | NL: Morfologie | CD | 0..1 | data | NL-CM:13.1.28 | Morphology describes morphological abnormalities of the anatomical location where the material is taken, for example wound, ulcer. | SNOMED CT: 118168003 Specimen source morphology
SpecimenSource | LaboratoryTestResult.Specimen.SpecimenSource | NL: BronMonster | CD | 0..1 | data | NL-CM:13.1.29 | If the material is not collected directly from the patient but comes from a patient-related object, e.g. a cathetertip, this source of material can be recorded here. | SNOMED CT: 898201001 Specimen from device
Comment | LaboratoryTestResult.Specimen.Comment | NL: Toelichting | ST | 0..1 | data | NL-CM:13.1.19 | Comments on the specimen , such as drawing material after a (glucose) stimulus or taking medicine. | LOINC: 48767-8 Annotation comment [Interpretation] Narrative
LaboratoryTest | LaboratoryTestResult.LaboratoryTest | NL: LaboratoriumTest |  | 0..* | container | NL-CM:13.1.3 | Container of the LaboratoryTest concept. This container contains all data elements of the LaboratoryTest concept.
TestCode | LaboratoryTestResult.LaboratoryTest.TestCode | NL: TestCode | CD | 1 | data | NL-CM:13.1.8 | The name and code of the executed test.
TestMethod | LaboratoryTestResult.LaboratoryTest.TestMethod | NL: Testmethode | CD | 0..1 | data | NL-CM:13.1.9 | The test method used to obtain the result. | SNOMED CT: 246501002 Technique
TestDateTime | LaboratoryTestResult.LaboratoryTest.TestDateTime | NL: TestDatumTijd | TS | 0..1 | data | NL-CM:13.1.13 | The date and if possible the time at which the test was carried out.
TestResult | LaboratoryTestResult.LaboratoryTest.TestResult | NL: TestUitslag | ANY | 0..1 | data | NL-CM:13.1.10 | The test result. Depending on the type of test, the result will consist of a value with a unit or a coded value (ordinal or nominal).
TestResultStatus | LaboratoryTestResult.LaboratoryTest.TestResultStatus | NL: TestUitslagStatus | CD | 0..1 | data | NL-CM:13.1.31 | The status of the test result of this test. If the laboratory test is a panel/cluster, the overall status is given in the status of the panel/cluster. | LOINC: 92236-9 Lab observation result status
ReferenceRangeUpperLimit | LaboratoryTestResult.LaboratoryTest.ReferenceRangeUpperLimit | NL: ReferentieBovengrens | ANY | 0..1 | data | NL-CM:13.1.11 | The upper reference limit for the patient of the value measured in the test.
ReferenceRangeLowerLimit | LaboratoryTestResult.LaboratoryTest.ReferenceRangeLowerLimit | NL: ReferentieOndergrens | ANY | 0..1 | data | NL-CM:13.1.12 | The lower reference limit for the patient of the value measured with the test.
ResultFlags | LaboratoryTestResult.LaboratoryTest.ResultFlags | NL: InterpretatieVlaggen | CD | 0..1 | data | NL-CM:13.1.14 | Attention codes indicating whether the result of a quantitative test is above or below certain reference values or interpreting the result otherwise.(Resistent). The values Resistant, Intermediate en Susceptible are used with microbiological test results. | SNOMED CT: 363713009 Has interpretation
ResultInterpretation | LaboratoryTestResult.LaboratoryTest.ResultInterpretation | NL: UitslagInterpretatie | ST | 0..1 | data | NL-CM:13.1.32 | Comment of the laboratory specialist regarding the interpretation of the results | SNOMED CT: 441742003 Evaluation finding
PanelOrBattery | LaboratoryTestResult.PanelOrBattery | NL: Onderzoek | CD | 0..1 | data | NL-CM:13.1.4 | For laboratory tests comprising multiple subtests and often requested together as a whole, this concept contains the name of the compound request (often indicated as a ‘panel’, ‘battery’ or ‘cluster’). Examples include: blood gases and EBV serology.
ResultStatus | LaboratoryTestResult.ResultStatus | NL: ResultaatStatus | CD | 0..1 | data | NL-CM:13.1.6 | The status of the laboratory test result. If the laboratory test is a panel/cluster, this status reflects the status of the whole panel/cluster. If the status item per subtest is used too, this status must be in accordance with these status values. | LOINC: 92235-1 Lab order result status
Comment | LaboratoryTestResult.Comment | NL: Toelichting | ST | 0..1 | data | NL-CM:13.1.5 | Comments, such as a textual interpretation or advice accompanying the result, for example. | LOINC: 48767-8 Annotation comment [Interpretation] Narrative
ResultType | LaboratoryTestResult.ResultType | NL: ResultaatType | CD | 0..1 | data | NL-CM:13.1.7 | The type of result defines the laboratory specialty under which the test is categorized.
RelatedResult::LaboratoryTestResult | LaboratoryTestResult.RelatedResult::LaboratoryTestResult | NL: GerelateerdeUitslag::LaboratoriumUitslag |  | 0..* | data,reference | NL-CM:13.1.33 | Reference to related tests, e.g. paired tests or sequential tests like gram staining and microbiological cultures. It concerns previous results that collectively lead to the current interpretation.
Performer::HealthcareProvider | LaboratoryTestResult.Performer::HealthcareProvider | NL: Uitvoerder::Zorgaanbieder |  | 0..1 | context,reference | NL-CM:13.1.35 | The healthcare provider who is responsible for the excecution of the laboratory examination and delivering the Laboratory result.